Food & Nutrition: Thermometer Calibration Log

- Fill glass with crushed ice, then add water to just below level of ice and stir;

- Immerse thermometer stem into slush, keeping the stem away from bottom and sides;

- Rotate nut under head until pointer reads 32°F;

- Check calibration weekly and complete thermometer calibration log;

- Clean and sanitize thermometer before use.

MONTH/ YEAR: ________________________

|  | Reading | Calibrated by: (INITIALS) | Total Number Tested |  | Single thermometer test | Number replaced |
| --- | --- | --- | --- | --- | --- | --- |
| 1. |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |
| 4. |  |  |  |  |  |  |
| 5. |  |  |  |  |  |  |
| 6. |  |  |  |  |  |  |
| 7. |  |  |  |  |  |  |
| 8. |  |  |  |  |  |  |
| 9. |  |  |  |  |  |  |
| 10. |  |  |  |  |  |  |
| 11. |  |  |  |  |  |  |
| 12. |  |  |  |  |  |  |
| 13. |  |  |  |  |  |  |
| 14. |  |  |  |  |  |  |
| 15. |  |  |  |  |  |  |
| 16. |  |  |  |  |  |  |
| 17. |  |  |  |  |  |  |
| 18. |  |  |  |  |  |  |
| 19. |  |  |  |  |  |  |
| 20. |  |  |  |  |  |  |
| 21. |  |  |  |  |  |  |
| 22. |  |  |  |  |  |  |
| 23. |  |  |  |  |  |  |
| 24. |  |  |  |  |  |  |
| 25. |  |  |  |  |  |  |
| 26. |  |  |  |  |  |  |
| 27. |  |  |  |  |  |  |
| 28. |  |  |  |  |  |  |
| 29. |  |  |  |  |  |  |
| 30. |  |  |  |  |  |  |
| 31. |  |  |  |  |  |  |

INSTRUCTIONS: Calibrate all thermometers in use and at minimum perform weekly calibrations (check your facility policy).

- For digital thermometers, please read manufacturer’s instructions.

- For replacement thermometers, document calibration and check to indicate single thermometer test.